# CARVER CENTER FOR IMAGING

Leica SP8 confocal microscope is equipped with the following items:

- Okolab stage-top incubator for live cell imaging

- 40x W (water immersion) lens with motorized correction collar.

#1) New OkoLab stage-top incubator for live cell

imaging on Leica SP8 confocal microscope

http://www.oko-lab.com/live-cell-imaging/stage-top-digital-gas

Tanks for:

- N2 – to float table

- CO2 – for incubator (normoxia)

- N2 – for incubator (hypoxia)

- Touch pad controller

- O2/CO2 controller

- Temperature controller

1

2

3

Humidifying bubbler

Incubation

/chamber

New OkoLab stage-top incubator for live cell

imaging on Leica SP8 confocal microscope

#2) New 40 W mot installed on Leica SP8 confocal

This new water immersion 40x lens has an adjustable, motorized collar to maximize resolution. For details, see link below.

Note that a wire connector restricts turning of the objective turret.

Please see: https://www.leica-microsystems.com/fileadmin/downloads/Leica%20TCS%20SP5%20II/Brochures/Leica%20mot Corr-Flyer_EN.pdf